## MasterData-Redtag
Site | Location | Building | Issuetype | IssueDescriptionMain | IssueDescriptionSub
site 5 | RO Plant | RO Plant | RO | Leaking Pipes or Fittings | Leaking Pipes or Fittings
site 5 | RO Plant | RO Plant | RO | Visible rust or corrosion on metal components, such as valves or pipes. | Visible rust or corrosion on metal components, such as valves or pipes.
site 5 | RO Plant | RO Plant | RO | Dirty or Clogged Filters | Dirty or Clogged Filters
site 5 | RO Plant | RO Plant | RO | Faulty Pressure Gauges | Faulty Pressure Gauges
site 5 | RO Plant | RO Plant | RO | Unusual Sounds | Unusual Sounds
site 5 | RO Plant | RO Plant | RO | Electrical Issues | Electrical Issues
site 5 | RO Plant | RO Plant | RO | Drainage Issues | Drainage Issues
site 5 | RO Plant | RO Plant | RO | Presence of algae growth in holding tanks or on surfaces. | Presence of algae growth in holding tanks or on surfaces.
site 5 | RO Plant | RO Plant | Pet control | Pets control issue-test | Pets control issue
site 1 | Genarator Room | Genarator Room | Generator | Oil Leaks | Oil Leaks
site 4 | Genarator Room | Genarator Room | Generator | Corroded Battery Terminals | Corroded Battery Terminals
site 5 | Genarator Room | Genarator Room | Generator | Loose or Damaged Wiring | Loose or Damaged Wiring
site 5 | Genarator Room | Genarator Room | Generator | Look for spot marking or heat marks on components | Look for spot marking or heat marks on components
site 5 | Genarator Room | Genarator Room | Generator | Unusual exhaust emissions | Unusual exhaust emissions
site 5 | Genarator Room | Genarator Room | Generator | Coolant Leaks | Coolant Leaks
site 5 | Genarator Room | Genarator Room | Generator | Unusual vibration or Movement | Unusual vibration or Movement
site 5 | Genarator Room | Genarator Room | Generator | Dirty Air Filters | Dirty Air Filters
site 5 | Genarator Room | Genarator Room | Generator | Indicate warning lights or error messages on control panels. | Indicate warning lights or error messages on control panels.
site 5 | Genarator Room | Genarator Room | Generator | Safety hazards | Safety hazards
site 5 | Genarator Room | Genarator Room | Generator | Expired the mainteance services tags | Expired the mainteance services tags
site 5 | Genarator Room | Genarator Room | Pet control | Pets control issue | Pets control issue
site 5 | Chiller room | Chiller room | Chiller | Refrigerant Leaks | Refrigerant Leaks
site 5 | Chiller room | Chiller room | Chiller | Rust or corrosion on piping, fittings, or structural supports. | Rust or corrosion on piping, fittings, or structural supports.
site 5 | Chiller room | Chiller room | Chiller | Visible dirt or debris buildup in strainers and filters. | Visible dirt or debris buildup in strainers and filters.
site 5 | Chiller room | Chiller room | Chiller | Condensate Drain Problems | Condensate Drain Problems
site 5 | Chiller room | Chiller room | Chiller | Unusual vibrations or sounds from the chiller units or pumps. | Unusual vibrations or sounds from the chiller units or pumps.
site 5 | Chiller room | Chiller room | Chiller | Thermal Insulation Damage or missing insulation on pipes and equipment. | Thermal Insulation Damage or missing insulation on pipes and equipment.
site 5 | Chiller room | Chiller room | Chiller | Look for spot markings or heat marks on components. | Look for spot markings or heat marks on components.
site 5 | Chiller room | Chiller room | Chiller | Pressure and temperature gauges for incorrect readings or visible damage. | Pressure and temperature gauges for incorrect readings or visible damage.
site 5 | Chiller room | Chiller room | Chiller | Loose fittings in pipe and duct connections. | Loose fittings in pipe and duct connections.
site 5 | Chiller room | Chiller room | Chiller | Algae Growth. | Algae Growth.
site 5 | Chiller room | Chiller room | A/C | Room A/C is not working. | Room A/C is not working.
site 5 | Chiller room | Chiller room | Civil | Roaf or ceilling issues. | Roaf or ceilling issues.
site 5 | Chiller room | Chiller room | Electrical | Electrical Issues. | Electrical Issues.
site 5 | Chiller room | Chiller room | Chiller | Expired the mainteance services tags. | Expired the mainteance services tags.
site 5 | Chiller room | Chiller room | Pet control | Pets control issue. | Pets control issue.
site 1 | ATS Room | ATS Room | Electrical | Look for rust or corrosion on electrical terminals and connections. | Look for rust or corrosion on electrical terminals and connections.
site 4 | ATS Room | ATS Room | Electrical | Loose or exposed wiring. | Loose or exposed wiring.
site 5 | ATS Room | ATS Room | Electrical | Indicating warning lights or error messages on the ATS panel. | Indicating warning lights or error messages on the ATS panel.
site 5 | ATS Room | ATS Room | Electrical | Look for spot marks or heat damage around circuit breakers or contactors. | Look for spot marks or heat damage around circuit breakers or contactors.
site 5 | ATS Room | ATS Room | A/C | Inadequate Ventilation in room or Indoor A/C is not working | Inadequate Ventilation in room or Indoor A/C is not working
site 5 | ATS Room | ATS Room | Electrical | Cracks or damage to the ATS enclosure | Cracks or damage to the ATS enclosure
site 5 | ATS Room | ATS Room | Electrical | Look for burn marks or charring around electrical connections. | Look for burn marks or charring around electrical connections.
site 5 | ATS Room | ATS Room | Electrical | Grounding connections for proper installation and signs of corrosion. | Grounding connections for proper installation and signs of corrosion.
site 5 | ATS Room | ATS Room | Pet control | Pets control issue. | Pets control issue.
site 2 | guard room | NA | Fire system | Blocked Fire Exits | Blocked Fire Exits
site 5 | guard room | NA | Fire system | Leaking Sprinkler Heads | Leaking Sprinkler Heads
site 4 | guard room | NA | Fire system | Damaged Fire Hoses | Damaged Fire Hoses
site 1 | guard room | 2 story | Fire system | Corroded Valves or Piping | Corroded Valves or Piping
site 1 | ATS Room | 5 Story | Fire system | Faulty Alarm Panels | Faulty Alarm Panels
site 1 | guard room - Repeating panel | NA | Fire system | Look for dust buildup around detectors, alarms, or sprinkler heads. | Look for dust buildup around detectors, alarms, or sprinkler heads.
site 1 | guard room - Repeating panel | NA | Fire system | Inspect smoke or heat detectors for physical damage or missing covers. | Inspect smoke or heat detectors for physical damage or missing covers.
site 1 | guard room - Repeating panel | NA | Fire system | Incorrect Labeling | Incorrect Labeling
site 1 | guard room - Repeating panel | NA | Civil | Enterence Gate issues | Enterence Gate issues
site 1 | guard room - Repeating panel | NA | A/C | A/C are not workings | A/C are not workings
site 1 | guard room - Repeating panel | NA | Electrical/Breakdown | Fans are not working | Fans are not working
site 1 | Comprosser room | Near engineering workshop | Compressor | Oil Leaks | Oil Leaks
site 2 | compressor room | Near engineering workshop | Compressor | Excessive vibration or movement of the compressor unit | Excessive vibration or movement of the compressor unit
site 4 | compressor room | Near engineering workshop | Compressor | Rust or corrosion on piping, fittings, and compressor parts. | Rust or corrosion on piping, fittings, and compressor parts.
site 4 | compressor room | Near engineering workshop | Compressor | Damaged Belts or Hoses | Damaged Belts or Hoses
site 4 | compressor room | Near engineering workshop | Compressor | Excessive Noise | Excessive Noise
site 4 | compressor room | Near engineering workshop | Compressor | Faulty Pressure Gauges | Faulty Pressure Gauges
site 4 | compressor room | Near engineering workshop | Compressor | Clogged Air Filters | Clogged Air Filters
site 4 | compressor room | Near engineering workshop | Compressor | Improper Ventilation | Improper Ventilation
site 4 | compressor room | Near engineering workshop | Compressor | Electrical Issues | Electrical Issues
site 4 | compressor room | Near engineering workshop | Compressor | Expired the mainteance services tags | Expired the mainteance services tags
site 4 | compressor room | Near engineering workshop | Pet control | Pets control issue | Pets control issue
site 4 | compressor room | Near engineering workshop | CCTV | CCTV is not working | CCTV is not working
site 1 | 1000kva - Transformer area | 1000kva - Transformer area | Transformer | Look for signs of oil pooling or stains around the transformer. | Look for signs of oil pooling or stains around the transformer.
site 2 | 1000kva - Transformer area | 1000kva - Transformer area | Transformer | Electrical connections and terminals for rust or corrosion. | Electrical connections and terminals for rust or corrosion.
site 4 | 1000kva - Transformer area | 1000kva - Transformer area | Transformer | Frayed or damaged insulation on wires that could pose a safety risk. | Frayed or damaged insulation on wires that could pose a safety risk.
site 4 | 1000kva - Transformer area | 1000kva - Transformer area | Transformer | Overheating Signs | Overheating Signs
site 4 | 1000kva - Transformer area | 1000kva - Transformer area | Transformer | Observe for unusual sounds or excessive vibration | Observe for unusual sounds or excessive vibration
site 4 | 1000kva - Transformer area | 1000kva - Transformer area | Transformer | Grounding connections for integrity and signs of corrosion. | Grounding connections for integrity and signs of corrosion.
site 4 | 1000kva - Transformer area | 1000kva - Transformer area | Transformer | Faulty Gauges | Faulty Gauges
site 4 | 1000kva - Transformer area | 1000kva - Transformer area | Transformer | Transformer floor , area and safety issues | Transformer floor , area and safety issues
site 4 | 1000kva - Transformer area | 1000kva - Transformer area | Pet control | Pets control issue | Pets control issue
site 1 | Diesel tank area | Diesel tank area | Diesel storage | Look for signs of leaking diesel around tanks, hoses, and connections. | Look for signs of leaking diesel around tanks, hoses, and connections.
site 2 | Diesel tank area | Diesel tank area | Diesel storage | Corrosion on Tanks | Corrosion on Tanks
site 4 | Diesel tank area | Diesel tank area | Diesel storage | Overfilled Tanks | Overfilled Tanks
site 5 | Diesel tank area | Diesel tank area | Diesel storage | Vent lines are blocked | Vent lines are blocked
site 5 | Diesel tank area | Diesel tank area | Diesel storage | Damaged Hoses or Fittings | Damaged Hoses or Fittings
site 5 | Diesel tank area | Diesel tank area | Diesel storage | hoses, pumps, and other equipment are not safety condition. | hoses, pumps, and other equipment are not safety condition.
site 5 | Diesel tank area | Diesel tank area | Diesel storage | Safety and hazard signs are not visible and not satify condition. | Safety and hazard signs are not visible and not satify condition.
site 5 | Diesel tank area | Diesel tank area | Diesel storage | leaking Issues | leaking Issues
site 5 | Diesel tank area | Diesel tank area | Diesel storage | Expired the mainteance services tags | Expired the mainteance services tags
site 5 | Diesel tank area | Diesel tank area | Pet control | Pets control issue | Pets control issue
site 1 | canteen | chill-out | Civil | Pipe system issues ( Tap issues, Pipe fittings leak, Foot padels issues ) | Pipe system issues ( Tap issues, Pipe fittings leak, Foot padels issues )
site 1 | canteen - cafiteria | chill-out | Civil | Drainages problems | Drainages problems
site 4 | canteen | chill-out | Civil | Damaged Furnitures | Damaged Furnitures
site 4 | canteen | chill-out | Electrical | Electrical Issues | Electrical Issues
site 4 | canteen | chill-out | Pet control | Pets control issue | Pets control issue
site 5 | MBC Moulding | AHU 1, 2, 3, 4. | AHU | Clogged or dirty air filters. | Clogged or dirty air filters.
site 1 | B2 | AHU 7, 8 | AHU | Look for water leaks around the AHU or associated ductwork. | Look for water leaks around the AHU or associated ductwork.
site 5 | Lamination,cutting | AHU 5,6,9,10 | AHU | Corroded Ductwork. | Corroded Ductwork.
site 1 | 5 story - Ground floor | AHU 1,2 | AHU | Drainage issues (Condensate drain for clogs or drainage) | Drainage issues (Condensate drain for clogs or drainage)
site 1 | 5 story - C1 ( 1st floor) | AHU 3,4 | AHU | Air intake and exhaust vents are not clear of obstructions. | Air intake and exhaust vents are not clear of obstructions.
site 1 | 5 story - C2 ( 2nd floor) | AHU 5,6,7 | AHU | Abnormal sounds from the AHU. | Abnormal sounds from the AHU.
site 1 | Fire system pump room 1 | NA | Pulmbing | Leaking Pumps. | Leaking Pumps.
site 4 | Rain harvesting pump room 1 | NA | Pulmbing/civil | Inspect metal components for rust or corrosion. | Inspect metal components for rust or corrosion.
site 2 | Pump room 1 | NA | Electrical | Excessive vibration in pumps | Excessive vibration in pumps
site 5 | MBC Moulding | Duct system | Duct system | Look for dents, holes, or cracks in ductwork. | Look for dents, holes, or cracks in ductwork.
site 2 | QA | NA | Duct system | Excessive dust buildup inside of the duct. | Excessive dust buildup inside of the duct.
site 1 | CCP-PDC | NA | Duct system | Disconnected Ducts | Disconnected Ducts
site 1 | MBC-PDC | NA | Duct system | Air Leaks. | Air Leaks.
shite 5 | MBC | Production office | A/C | Poor Air Quality or A/C issue | Poor Air Quality or A/C issue
shite 5 | MBC | Obaya room | Electrical | Flickering lights, burned-out bulbs, or broken. | Flickering lights, burned-out bulbs, or broken.
shite 5 | MBC | Meeting room 01 | Electrical | Electrical Hazards: for frayed cords, overloaded outlets, or exposed wiring. | Electrical Hazards: for frayed cords, overloaded outlets, or exposed wiring.
shite 5 | MBC | Meeting room 02 | Civil | Floor damages and walkway issue | Floor damages and walkway issue
shite 5 | MBC | Personal office | Civil | Damaged Furniture | Damaged Furniture
shite 5 | Lamination & Hot melt area | Tech pack room | Civil/pulmbing | Water or unkown oil Leaking Ceilings,Floor, near AC | Water or unkown oil Leaking Ceilings,Floor, near AC
shite 5 | Lamination & Hot melt area | Meeting room 01 | Electrical | Electrical Issues | Electrical Issues
shite 5 | Lamination & Hot melt area | Manager room | Civil | Damaged or oil mark on the Carpet | Damaged or oil mark on the Carpet
shite 5 | Lamination & Hot melt area | Office 01 | Civil | Walls are dirty and need a paint | Walls are dirty and need a paint
shite 5 | Lamination & Hot melt area | Office 02 | Pet control | Pets control issue | Pets control issue
site 4 | CNC & IM Area | UPS Room | Electrical | Battery Leaks | Battery Leaks
site 4 | CNC & IM Area | UPS Room | Electrical | Overheating Components | Overheating Components
site 4 | CNC & IM Area | UPS Room | Electrical | Damaged Cables | Damaged Cables
site 4 | CNC & IM Area | UPS Room | Electrical | Poor Ventilation and A/C issue | Poor Ventilation and A/C issue
site 4 | CNC & IM Area | UPS Room | Electrical | Look for malfunctioning status lights or alarms on the UPS panels. | Look for malfunctioning status lights or alarms on the UPS panels.
site 4 | CNC & IM Area | UPS Room | Electrical | Look for excessive dust buildup on UPS units and surrounding surfaces. | Look for excessive dust buildup on UPS units and surrounding surfaces.
site 4 | CNC & IM Area | UPS Room | Electrical | Loose Connections | Loose Connections
site 4 | CNC & IM Area | UPS Room | Electrical | Expired Maintenance Tags: Look for any maintenance or inspection tags that are out of date. | Expired Maintenance Tags: Look for any maintenance or inspection tags that are out of date.
site 4 | CNC & IM Area | UPS Room | Civil | Improperly Stored Items | Improperly Stored Items
site 1 | Walikng pathway | Production floor inside | Civil | Potholes | Potholes
site 2 | Walikng pathway | Production floor outside | Civil | Cracked pathway | Cracked pathway
site 4 | Walikng pathway | Production floor outside | Civil | Poor Visibility - Identify areas with inadequate lighting or Floor's painting needed. | Poor Visibility - Identify areas with inadequate lighting or Floor's painting needed.
site 5 | Walikng pathway | Production floor outside | Civil | Faulty of pathway signal indication sticker, fading or damage path way line. | Faulty of pathway signal indication sticker, fading or damage path way line.
site 1 | MBC-Moulding | Production Floor | Civil | Faulty of pathway signal indication sticker, fading or damage path way line. | Faulty of pathway signal indication sticker, fading or damage path way line.
site 2 | MBC-Lamination | Production Floor | Civil | Slip condition on the pathway | Slip condition on the pathway
site 4 | CCP | Production Floor | Electrical | Observe for excessive noise that may require hearing protection. | Observe for excessive noise that may require hearing protection.
site 5 | 5 Story - C2 | Production Floor | A/C | Observe for areas that are too hot or too cold. | Observe for areas that are too hot or too cold.
site 1 | Wash room - 01 Male | Near HR office | PA System | Poor or high sound quality due to equipment limitations or improper settings. | Poor or high sound quality due to equipment limitations or improper settings.
site 1 | Wash room - 01 Female | Near HR office | PA System | Electrical issues and electrical safety hazards | Electrical issues and electrical safety hazards
site 1 | Wash room - 02 Male | Near chill out canteen | PA System | Volume Control Issues | Volume Control Issues
site 1 | Wash room - 02 Female | Near chill out canteen | PA System | Componets are not working or power issues (Ex : Remotes, TV, Screen display, HDMI Cables, Speaker) | Componets are not working or power issues (Ex : Remotes, TV, Screen display, HDMI Cables, Speaker)
shite 5 | MBC | Production office | PA System | Coverage gaps and dead zone | Coverage gaps and dead zone
shite 5 | MBC | Obaya room | PA System | The PA system's controlling software mulfunction or not working correctly. | The PA system's controlling software mulfunction or not working correctly.
shite 5 | MBC | Meeting room 01 | PA System | Expired the mainteance services tags | Expired the mainteance services tags
shite 5 | MBC | Meeting room 02 | PA System | Aging Equipment issues | Aging Equipment issues
shite 5 | MBC | Personal office | PA System | Physically damages to the system's equipment. | Physically damages to the system's equipment.
Site 1 | 5 story building | Passenger lift | Lifter | Cable Wear and Tear. | Cable Wear and Tear.
site 1 | 5 story building | Goods lift | Lifter | Misalignment or wear on pulleys. | Misalignment or wear on pulleys.